Running track surface, surface type: D – in acc. with EN 14877:2013-12

**Proof of delivery**

**REGUPOL BSW GmbH**

Am Hilgenacker 24

57319 Bad Berleburg (Germany)

+49 2751 803-0

info@regupol.de

[www.regupol.com](http://www.regupol.com)

| **Item** | **Quantity** | **Scope of performance** | **Unit price** | **Total**  |
| --- | --- | --- | --- | --- |
| 1 | m² | Lower bound base layer for synthetic surfaces, permeable to water, with increased requirements according to DIN 18035-6, made as follows:Asphalt type: PA 11 T WDA or PA 16 T WDABinder type: B 70/100Thickness: ≥ 40 mmDegree of compaction: ≥ 90 %Level tolerance under a 4 m straight edge: 4 m ≤ 8 mmWater infiltration rate: ≥ 360 mm/hOtherwise, the requirements according toDIN 18035-6, tables 4 and 5 apply. | € | € |
| 2 | m² | Upper bound base layer for synthetic surfaces, permeable to water, with increased requirements according to DIN 18035-6, made as follows:Asphalt type: PA 5 D WDA or PA 8 D WDABinder type: B 70/100Thickness: ≥ 25 mmDegree of compaction: ≥ 90 %Level tolerance under a 4 m straight edge: 4 m ≤ 4 mmWater infiltration rate: ≥ 360 mm/hOtherwise, the requirements according to.DIN 18035-6, tables 4 and 5 apply. | € | € |
| 3 | lfm. | Make a recess, approx. 2 x 2 cm, for a frictional locking connection between the synthetic surface and adjacent components (e.g.: curb stones, drainage channels). The costs for the use of additional synthetic surfacing must be taken into account. | € | € |

| **Item** | **Quantity** | **Scope of performance** | **Unit price** | **Total**  |
| --- | --- | --- | --- | --- |
| 4 | lfm. | Application of adhesive tape and plastic foil to protect curb stones, drainage channels and adjoining building components from contamination by synthetic material. Removal and professional disposal after installation of the synthetic surface. | € | € |
| 5 | m² | Professional application of adhesion promoter to the cleaned, bound base layer.Quantity: approx. 200 g/m² | € | € |
| 6 | m² | Delivery and professional installation of water impermeable synthetic surface in acc. with EN 14877:2013-12.**Product**:**REGUPOL** **champion AGI****Surface type**:D in acc. with EN 14877:2013-12**Description**:Insitu sandwich surface**Base layer**:Polyurethane bound rubber granules, cast.Surface thickness: approx. 10 mm**Upper layer:**Poured polyurethane with interspersed EPDM granules (grain size: 1.0-4.0 mm).Surface thickness: approx. 4 mm**Surface**:EPDM granules with interspersed visible tips.**Colour**:Red**Overall thickness**:approx. 14 mm | € | € |

**Total amount: €**